Checklist – Pre-Start Hazard Identification

| PROJECT: | Sustainability / Voids / EPC’s |
| --- | --- |
| As the PIC (Person-in-Charge) of this project YOU are responsible for ensuring that your site is safe; this checklist identifies SOME of the MORE SIGNIFICANT HAZARDS most commonly found on construction sites and is designed to help you ASSESS THE RISKS BEFORE YOU ALL WORK TO COMMENCE ON SITE. You should note that the checklist cannot be exhaustive as each site is different. If you have any concerns or need further assistance you should consult the SAFETY ADVISOR. Advice and planning at this stage can avoid problems on site later. It is in your interest to use this checklist, DO NOT BE PUT OFF BY IT; it should not take too long to work through (many of the issues may not apply to you) but it will help you to flag-up any problems and deal with them effectively. You should tick the last columns and deal with any RISK ASSESSMENTS or METHOD STATEMENTS you might require to administer the works safely. Please keep a copy of this checklist available on the Project Safety File for inspection. |  |

###### CONTENTS

###### Part - 1: Assessing project specific Control Measures, Risk Assessments & Method Statements

###### Part - 2: Which risk assessments are required and who will supply them?

###### Part - 3: Any other risk assessment required?

###### Part - 4: Are Method Statements are required? If so, what are they and who will supply them?

###### Part - 5: Any materials/substances hazardous to health to be used? If so, what? Who will supply data/Assessment?

Part – 6: Copies of Notices & Posters

Checklist – Pre-Start Hazard Identification / Continued

| ###### Part - 1: Assessing project specific Control Measures, Risk Assessments & Method Statements |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref No | Communication & Management of the Work: Ask yourself the following: | Notes / Control measures / Risk Assessment & Method Statements to be provided? | ##### RA? Y/N | ##### MS? Y/N |
|  | Have you been notified of any specific requirements by the Client in respect of the following? |  |  |  |
| 01 | - Structure & organisation |  | Y |  |
| 02 | - Safety goals for the project & arrangements for monitoring & review? | Always maintain a proactive and safety conscious attitude, with good communication all round. | Y |  |
| 03 | - Permits & authorisation? | Possible Scaffold Permits on Footpaths | Y |  |
| 04 | - Emergency procedures? | None Received | Y |  |
| 05 | - Site rules & other restrictions on contractors, suppliers and others? | Asbestos Surveys to be conducted on all properties. | Y |  |
| 06 | - Activities on or adjacent to the works? |  |  |  |
| 07 | - Arrangements for liaising & communicating between parties? | RLO and Client Appointment Booking along with conformation of works being untaken. | Y |  |
| 08 | - Security arrangements? | Scaffold alarms, hoarding, yellow scaffold foam. Void property key collection. | Y |  |
|  | Have you made arrangements and assessed the need for dealing with, providing, acquiring or drafting the following? |  |  |  |
| 09 | - Handling design changes during the project? | Yes as per the CPP. | Y |  |
| 10 | - The selection and control of sub-contractors? | Yes as per the CPP. | Y |  |
| 11 | - The exchange of health & safety information between contractors? | Weekly sub contractor and daily briefings | Y |  |
| 12 | - Security? | Yes security has been provided to the entirety of the site. | Y |  |
| 13 | - Site induction? | Site induction will be in use | Y |  |
| 14 | - On site training, including toolbox talks? | TBT | Y |  |
| 15 | - Welfare facilities, both existing and required? | Parry Road Welfare | Y |  |
| 16 | - First aid cover? | Yes the Site Manager and Supervisor will be the first aid cover. | Y |  |
| 17 | - Accident & incident reporting procedures & responsibilities? | Its part of the CPP and site induction which will also be distributed to the sub-contractors on site. Reporting to Clients SHINE system | Y |  |
| 18 | - The production and approval of risks assessments and method statements, including vetting approval and sign-off? | Yes as per CPP and Axis Check sheet | Y |  |
| 19 | - The drafting of site rules, including any specific requirements? | General site rules available however the specific requirements will be part of the site inductions. | Y |  |
| 20 | - The drafting of a fire risk assessment? | In due process | Y |  |
| 21 | - The drafting of emergency procedures? | Part of site induction and CPP | Y |  |

Checklist – Pre-Start Hazard Identification / Continued

| Ref No | Environmental Restrictions & Control of Significant Site Risks: Ask yourself the following: | Notes / Control measures / Risk Assessment & Method Statements to be provided? | ##### RA? Y/N | ##### MS? Y/N |
| --- | --- | --- | --- | --- |
|  | Have any safety hazards, such as the following, been notified by the Client or professional advisors? |  |  |  |
| 22 | - Boundaries? | Boundaries have been taken into consideration. | ##### y |  |
| 23 | - Access & temporary access? | Key collection and resident access | ##### y |  |
| 24 | - Adjacent land uses? | Neighbouring Properties. | ##### y |  |
| 25 | - Existing storage of hazardous materials? | Not known. | ##### y |  |
| 26 | - Location of existing services, including gas flues, overhead lines and underground mains, sewers and culverts? | Residential properties | ##### y |  |
| 27 | - Geotechnical survey showing poor or unstable ground conditions? | N/A | ##### N |  |
| 28 | - Slopes and contours of the ground? | Street Properties | ##### y |  |
| 29 | - Existing structures, including stability and fragile materials? | Damp and mould. Asbestos | ##### y |  |
|  | Have any health hazards, such as the following, been notified by the Client or professional advisors? |  |  |  |
| 30 | - Asbestos, including the results of surveys? | Survey to be done on all areas worked on. | ##### Y |  |
| 31 | - Existing storage of hazardous materials? | To be surveyed when on site | ##### Y |  |
| 32 | - Geotechnical survey showing contaminated land, including results of surveys? | N/A | ##### N |  |
| 33 | - Existing structures hazardous materials? | Check for lead and Asbestos on site. | ##### Y |  |
| 34 | - Health risks from client’s activities? | Drug and alcohol abusers. | ##### y |  |
|  | Have you made arrangements and assessed the need for dealing with, providing, acquiring or drafting the following? |  |  |  |
| 35 | - Services, including temporary electrical installations? | Permit to work needed, | ##### y |  |
| 36 | - Temporary lighting? | Temp lights needed. | ##### Y |  |
| 37 | - Preventing falls? | Scaffold in place | ##### y |  |
| 38 | - Work with or near fragile materials? | Will be surveyed. | ##### n |  |
| 39 | - Control of lifting operations? | NA | ##### N |  |
| 40 | - Dealing with services, including water, gas and others? | Will survey. | ##### n |  |
| 41 | - The maintenance of plant and equipment? | PAT testing, weekly scaffold checks, sub contractor tool checks. | ##### y |  |
| 42 | - Poor ground conditions? | N/A | ##### N |  |

Checklist – Pre-Start Hazard Identification / Continued

| Ref No | Environmental Restrictions & Control of Significant Site Risks: Ask yourself the following: (Cont’d) | Notes / Control measures / Risk Assessment & Method Statements to be provided? | ##### RA? Y/N | ##### MS? Y/N |
| --- | --- | --- | --- | --- |
|  | Have you made arrangements and assessed the need for dealing with, providing, acquiring or drafting the following? (Cont’d) |  |  |  |
| 43 | - Traffic routes and segregation of vehicles and pedestrians? | As per Axis logistics plan | ##### Y |  |
| 44 | - Storage of hazardous materials? | Provide COSHH cupboard | ##### Y |  |
| 45 | - Existing unstable structures? | n/a | ##### y |  |
| 46 | - Accommodating adjacent land use? | Neighbouring residents | ##### y |  |
| 47 | - Proximity of public transport systems, particularly railway? | Bus stops surrounding and train station is within a 15 minute walk. | ##### y |  |
| 48 | - Proximity of water courses, rivers or streams? | n/a | ##### N |  |
| 49 | - Proximity to public buildings? | n/a | ##### N |  |
| 50 | - Demolition works required? | Soft strip | ##### y |  |
| 51 | - Excavation works? | n/a | ##### y |  |
| 52 | - Piling, what type is pile entry required? | n/a | ##### y |  |
| 53 | - Work to existing services? | Yes | ##### y |  |
| 54 | - Specialist processes on site? | Damp and mould, asbestos, roof laying, lead work. | ##### y |  |
| 55 | - Confined space entry? | n/a | ##### y |  |
| 56 | - Steel erection? | n/a | ##### y |  |
| 57 | - Pre-fabricated components? | Windows and doors | ##### y |  |
| 58 | - Tower & mobile cranes? | Possible use of Towers | ##### y |  |
| 59 | - Hoists | NA | ##### y |  |
| 60 | - Formwork & falsework requirements? | n/a | ##### y |  |
| 61 | - Concrete pumping? | n/a | ##### y |  |
| 62 | - Permit to Work & Hot Works requirements? | yes | ##### y |  |
| 63 | - Work at height, edge protection, evaluate all fall hazards? | yes | ##### y |  |
| 64 | - Service installations, including lifts & escalators? | N/a | ##### y |  |
| 65 | - Any other significant safety risks? | Wooden sole boards and removing of asbestos TBC | ##### n |  |
| 66 | - The removal of asbestos? | TBC per property and location works are being undertaken | ##### n |  |
| 67 | - The issue of contaminated land? | n/a | ##### y |  |
| 68 | - Manual handling? | yes | ##### y |  |
| 69 | - Use of hazardous substances? | Yes contractors to provide COSHH reports | ##### y |  |
| 70 | - Reducing noise & vibration? | Reference the RAMS | ##### y |  |
| 71 | - Other significant health risks? | Dust, damp and mould , asbestos , syringes | ##### y |  |

Checklist – Pre-Start Hazard Identification / Continued

| Ref No | Environmental Restrictions & Control of Significant Site Risks: Ask yourself the following: (Cont’d) | Notes / Control measures / Risk Assessment & Method Statements to be provided? | ##### RA? Y/N | ##### MS? Y/N |
| --- | --- | --- | --- | --- |
|  | Have any of the following, been notified by the Client or professional advisors & have you made arrangements for dealing with them? |  |  |  |
| 72 | - Design assumptions and control measures? | In conversation with the scaffolding company, doors and windows design, roofing spec | ##### n |  |
| 73 | - Arrangements for co-ordinating ongoing design work and handling design changes? | Reference the CPP | ##### y |  |
| 74 | - Information on significant risks identified during design? | None | ##### n |  |
| 75 | - Materials requiring particular precautions? | Asbestos, roofing materials | ##### y |  |

###### Part - 2: Which risk assessments are required and who will supply them? YOU (the Company representative) or a Sub-Contractor?

| Risk Assessments: (The following templates and guidance are available from the Safety Advisor) | ##### Required? |  | By Whom? |  | If Sub-Contractor, who? (e.g. scaffolding / MEWPs) |
| --- | --- | --- | --- | --- | --- |
|  | ##### YES | ##### NO | ##### Comp | ##### SC |  |
| Abrasive cleaning |  | ##### N |  | ##### Y |  |
| Abrasive wheels – air |  | ##### N |  | ##### Y |  |
| Abrasive wheels – electric |  | ##### N |  | ##### Y |  |
| Access scaffolding | ##### Y |  |  | ##### Y | ##### UAS Scaffolding |
| Access to/egress from site | ##### Y |  |  | ##### Y | ##### All contractors |
| Brickwork and blockwork at ground level | ##### Y |  |  | ##### Y | ##### All contractors |
| Builder’s clean | ##### Y |  |  | ##### Y |  |
| Buried services |  | ##### N |  |  |  |
| Cable pulling |  | ##### N |  |  |  |
| Carpentry & joinery | ##### Y |  |  | ##### Y | ##### All contractors |
| Cartridge operated tools | ##### Y |  |  | ##### Y | ##### All contractors |
| Chainsaws |  | ##### N |  |  |  |
| Concrete operations – Pouring |  | ##### N |  |  |  |
| Concrete operations – Pre-cast |  | ##### N |  |  |  |
| Confined spaces |  | ##### N |  |  |  |
| Contaminated land |  | ##### N |  |  |  |
| Crane work |  | ##### N |  |  |  |

Checklist – Pre-Start Hazard Identification / Continued

| Risk Assessments: (The following templates and guidance are available from the Safety Advisor) | ##### Required? |  | By Whom? |  | If Sub-Contractor, who? (e.g. scaffolding / MEWPs) |
| --- | --- | --- | --- | --- | --- |
|  | ##### YES | ##### NO | ##### Comp | ##### SC |  |
| Demolition of structures |  | ##### N |  |  |  |
| Dry lining | ##### Y |  |  | ##### Y | ##### E&C |
| Electrical installation | ##### Y |  |  | ##### Y | ##### RUSSELL TREW (CBES) will be doing the electrical work |
| Electrical services – Temporary supplies |  | ##### N |  |  |  |
| Electrical tools | ##### Y |  |  | ##### Y | ##### All contractors will be using battery operated tools at some point within the project. |
| Erection of structural steel frames |  | ##### N |  |  |  |
| Excavation |  | ##### N |  |  |  |
| Excavators |  | ##### N |  |  |  |
| Falsework |  | ##### N |  |  |  |
| Falsework – High level |  | ##### N |  |  |  |
| Forming openings in external walls |  | ##### N |  |  |  |
| Forming openings in internal walls |  | ##### N |  |  |  |
| Forming openings in floor slabs |  | ##### N |  |  |  |
| Glazed tiling |  | ##### N |  |  |  |
| Glazing | ##### Y |  |  | ##### Y | ##### SYMPHONY |
| Hand tools | ##### Y |  |  | ##### Y | ##### Hand tools used by all contractors on site |
| Hydraulic and pneumatic powered tools |  | ##### N |  |  |  |
| Installing cable trays and trunking |  | ##### N |  |  |  |
| IT installations |  | ##### N |  |  |  |
| Ladders | ##### Y |  |  | ##### Y | ##### Ladders used by all contractors on site |
| Landscaping |  | ##### N |  |  |  |
| Lead Burning – plumbing work | ##### Y |  |  | ##### Y | ##### Plumbing work done to void flats by E&C |
| Leadwork |  | ##### N |  |  | ##### Lead work done on roof by Premier roofing |
| Lift trucks |  | ##### N |  |  |  |
| Lone working | ##### Y |  |  | ##### Y | ##### ALL CONTRACTORS |
| Mobile Elevating Work Platforms (MEWPs) |  | ##### N |  |  |  |
| Mobile aluminium towers | ##### Y |  |  |  | ##### ALL CONTRACTORS |
| Painting | ##### Y |  |  | ##### Y | ##### Painting done by E&C |
| Painting – Burning off |  | ##### N |  |  |  |
| Painting – Chemical stripping |  | ##### N |  |  |  |
| Pipe laying |  | ##### N |  |  |  |

Checklist – Pre-Start Hazard Identification / Continued

| Risk Assessments: (The following templates and guidance are available from the Safety Advisor) | ##### Required? |  | By Whom? |  | If Sub-Contractor, who? (e.g. scaffolding / MEWPs) |
| --- | --- | --- | --- | --- | --- |
|  | ##### YES | ##### NO | ##### Comp | ##### SC |  |
| Placing of roof trusses | ##### Y |  |  | ##### Y | ##### REB GROUP AND STRUCTUAL ENGINEER (PERLIN SUPPORTS AND COLLAR TIES WITH ROOF SPACE) |
| Plastering – External rendering |  | ##### N |  |  |  |
| Plastering – Internal | ##### Y |  |  | ##### Y | ##### Plastering done by E&C |
| Plumbing – First fixing operations | ##### Y |  |  | ##### Y | ##### Plumbing work done by E&C |
| Plumbing – Second fixing operations | ##### Y |  |  | ##### Y | ##### Plumbing work done by E&C |
| Power operated cradles |  | ##### N |  |  |  |
| Roadworks |  | ##### N |  |  |  |
| Roofwork | ##### Y |  |  | ##### Y | ##### Roof work by REB GROUP |
| Roofwork on flat roofs | ##### Y |  |  | ##### Y | ##### Roof work by Russell Trew |
| Rope operated cradles |  | ##### N |  |  |  |
| Sales and customer services staff |  | ##### N |  |  |  |
| Sheeted sloping roofs |  | ##### N |  |  |  |
| Shopfitting |  | ##### N |  |  |  |
| Site compound | ##### Y |  |  | ##### Y | ##### Site office in units 2,3 and 4 |
| Stepladders | ##### Y |  |  | ##### Y | ##### Used by all contractors |
| Stonemasonry |  | ##### N |  |  |  |
| Stonemasonry at height |  | ##### N |  |  |  |
| Temporary accommodation |  | ##### N |  | ##### Y |  |
| Treework |  | ##### N |  |  |  |
| Underpinning |  | ##### N |  |  |  |
| Unloading of vehicles | ##### Y |  |  | ##### Y | ##### All contractors will be unloading from vehicles on site |
| Welding |  | ##### N |  |  |  |
| Window cleaning |  | ##### N |  |  |  |
| Working at height | ##### Y |  |  | ##### Y | ##### All contractors will be working at height |
| Working on or near railway lines |  | ##### N |  |  |  |
| Working on, above or near water |  | ##### N |  |  |  |
| Working with asphalt |  | ##### N |  |  |  |

Checklist – Pre-Start Hazard Identification / Continued

| ###### Part - 3: Any other risk assessment required? If so, what are they and who will supply them? |  |  |  |
| --- | --- | --- | --- |
| Further Risk Assessments Required: | By Whom? |  | If a Sub-Contractor, who? |
|  | ##### Comp | ##### SC |  |
| Risk assessments /RAMS needed from all contractors, awaiting confirmation of all contractors that have been agreed. |  | ##### Y | ##### Risk assessments /RAMS needed from all contractors, awaiting confirmation of all contractors that have been agreed. |

| ###### Part - 4: Are Method Statements are required? If so, what are they and who will supply them? |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Method Statements Required: |  | By Whom? |  |  |  | If a Sub-Contractor, who? |  |  |
|  |  | ##### Comp |  | ##### SC |  |  |  |  |
| RUSSELL TREW ROOFING AND ELECTRICAL |  |  |  | ##### Y | ##### RUSSELL TREW |  |  |  |
| SYMPHONY for window installation |  |  |  | ##### Y | ##### SYMPHONY |  |  |  |
| E&C require method statement for the internal work |  |  |  | ##### Y | ##### E&C |  |  |  |
| UAS SCAFFOLDING |  |  |  | ##### Y | ##### UAS |  |  |  |
| REB GROUP ROOF STRENGHTENING WORK |  |  |  | ##### Y | ##### REB GROUP |  |  |  |

Checklist – Pre-Start Hazard Identification / Continued

| ###### Part - 5: Any materials/substances hazardous to health to be used? If so, what? Who will supply data/Assessment? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description (Substance / Material to be used) | By Whom? |  | If a Sub-Contractor, who? Have they supplied the data / assessment? | YES | NO |  |
|  | ##### Axis | ##### SC |  |  |  |  |
| Gas bottles |  | ##### Y | ##### E&C AND RUSSELL TREW | ##### Y |  |  |

| ###### Part – 6: COPIES OF NOTICES/POSTERS: Have you obtained and displayed copies of the following? |  |  |
| --- | --- | --- |
| Notices/forms/posters/rules etc (All to be accessible and displayed within the Site Office) | YES | NO |
| Form F10 | ##### Y |  |
| HSE poster (Health and Safety Law What you should know) | ##### Y |  |
| ###### First Aid | ##### Y |  |
| Electricity | ##### Y |  |
| Abrasive wheels | ##### Y |  |
| Public Liability Insurance | ##### Y |  |
| Policy Statements for Health, Safety and Welfare (Signed by the Director responsible for Health & Safety) | ##### Y |  |
| ###### Site Rules | ##### Y |  |
| ###### Induction | ##### Y |  |
| Other: (To be defined) - Fire extinguishers, signage - First Aid Signage - Signing in and out | ##### y |  |